## Slide 1
LIMS
Laboratory Information Management System
Configurable · Multi-site · GMP-compliant · Industry-agnostic
16
Workflow
Modules
Complete lab lifecycle coverage
4
Checkpoint
Trigger Modes
Time · Scan · Process Log · Dispatch
3
Compliance
Frameworks
21 CFR Pt11 · Annex 11 · ALCOA+
∞
Configurable
Product Types
Any chemical, pharma or lab product
Confidential

## Slide 2
What the Numbers Mean
A reference to every key figure on the cover — what it counts and why it matters for your lab
16
Workflow Modules
• SETUP (5): Master Data · Parameters · Checkpoints · Sample Registration · Instrument Management
• EXECUTION (5): Testing Execution · Process Log · Digital Logbook · OOS Investigation · Results Management
• OUTPUT (6): QA Review · CoA Generation · Dispatch QC · Traceability · Stability Testing · Dashboards
• Every lab activity from receiving a material to releasing a product has a dedicated module
• Each module is independently configurable — enable only what your lab needs
4
Checkpoint Trigger Modes
• Mode 1 — Time-Based: system auto-creates test tasks at any scheduled clock time
• Mode 2 — Operator Scan: QR/barcode scan on equipment or container triggers task instantly
• Mode 3 — Process Log: clock-based shift grid (e.g. every 4 hrs) for continuous monitoring
• Mode 4 — Dispatch Event: Delivery Order raised triggers outgoing QC test automatically
• All 4 modes feed the same Work Queue — analyst experience is identical
3
Compliance Frameworks
• 21 CFR Part 11 (FDA): electronic signatures, audit trail, access control for US-regulated products
• EU GMP Annex 11: computerised system validation, data integrity, backup/recovery for EU markets
• ALCOA+ (FDA/MHRA/WHO): Attributable · Legible · Contemporaneous · Original · Accurate · Complete
• All 3 frameworks are enforced simultaneously — the system does not require choosing one
• Configurable to add ISO 17025, ICH Q1A, OECD GLP or any additional regulatory standard
∞
Configurable Product & Test Types
• No hardcoded products — all materials, products and test parameters are configured in Master Data
• Add any material: chemicals, APIs, reagents, excipients, water, utilities, finished goods
• Add any test: titration, ICP-OES, HPLC, pH, SG, turbidity, heavy metals, microbiological
• Multi-site: each site can have its own materials, specs, instruments and form templates
• Industry-agnostic: pharmaceutical · chemical manufacturing · food & beverage · petrochemical

## Slide 3
Complete Workflow — Master Data to Certificate of Analysis
Every phase in sequence · Each phase depends on the one before · Output of each feeds directly into the next
1
Master Data
One-time · QA approved
• Lab · Instruments · Users
• Materials · Test Methods
• Specifications · Form Templates
▶
2
Parameters &
Checkpoints
Trigger configured
• Define tests + spec limits
• Set trigger mode (time/scan/DO)
• Group by location if needed
▶
3
Sample
Registration
Barcode printed
• Receive material · log lot
• 5-check validation gate
• Barcode label auto-printed
▶
4
Work Queue
& WAP
Tasks assigned
• WAP assigns right analyst
• Work Queue shows tasks
• Sorted by urgency & due time
↓
8
QA Review
& Release
Final gate
• OOS gate — hard block
• Approve → CoA locked
• Reject → mandatory reason
▶
7
Results
Management
Peer review
• Peer review by 2nd analyst
• QC Lead verifies + e-signs
• CoA draft auto-generated
▶
6
Digital
Logbook
Auto-populated
• Every result recorded live
• Date · time · analyst stamped
• Locked after e-sign — immutable
▶
5
Testing
Execution
Scan to start
• Scan barcode → form opens
• System auto-calculates result
• OOS flagged instantly if fail
↓
9
CoA Generation
Auto-populated PDF
• Template-driven auto-fill
• Product · Batch · Customer · DO
• QA e-signs → PDF locked
▶
10
Dispatch QC
DO-triggered
• Delivery Order raised
• Analyst tests outgoing product
• Pass → CLEARED for dispatch

## Slide 4
Phase-by-Phase Detail — What Happens at Each Stage
Input · Action · Output · Who is responsible — for every phase from Master Data to CoA
Phase
Name
What Happens
Input / Output
Responsible
1
Master Data
Configure lab, instruments, materials, test methods, specs, form templates, users. QA approves all before use.
IN: Business requirements
OUT: Foundation for all modules
Lab Admin
+ QA
2
Parameters &
Checkpoints
Define what to test, spec limits (in-house + regulatory), trigger mode (time/scan/dispatch), locations, critical flags.
IN: Master Data
OUT: Form Template ready
Lab Admin
+ QA
3
Sample
Registration
Receive material. Log lot, supplier, dates. 5-check validation gate. Tests auto-assigned. Barcode label printed.
IN: Material receipt
OUT: Sample in Work Queue
Analyst
4
Work Queue
& WAP
Lab manager assigns tasks via WAP (calendar, capacity, certification). Analyst opens queue — tasks pre-assigned and ready.
IN: Registered samples
OUT: Assigned test tasks
Lab Manager
+ Analyst
5
Testing
Execution
Analyst scans barcode → test opens. Verifies instrument. Enters results. System auto-calculates. OOS flagged if outside spec.
IN: Work Queue task
OUT: Signed raw results
Analyst
6
Digital
Logbook
Every result auto-recorded in real time. Date, time, analyst, instrument, result, pass/fail — all auto-stamped and e-signed. Immutable.
IN: Test results
OUT: Permanent record
System
(auto)
7
Results
Management
2nd analyst peer reviews all data. QC Lead verifies and e-signs. System consolidates all results. CoA draft auto-generated.
IN: Signed results
OUT: CoA draft
2nd Analyst
+ QC Lead
8
QA Review
& Release
QA reviews all results and CoA draft. Open OOS = hard block. Approve → CoA PDF locked and status = RELEASED. Reject → back to lab.
IN: CoA draft
OUT: Released batch
QA
9
CoA
Generation
Certificate of Analysis auto-filled from verified results. Product, batch, customer, DO, all test results, spec limits, 3 e-signatures. PDF locked.
IN: QA approval
OUT: Customer CoA PDF
System
+ QA sign
10
Dispatch QC
Delivery Order raised → outgoing QC task auto-created. Analyst tests product. Pass → CLEARED for dispatch. CoA header auto-filled.
IN: Delivery Order
OUT: Product cleared
Analyst
+ QA
Each phase has a hard gate — the next phase cannot begin until the current one is complete and e-signed. No phase can be skipped. All actions are permanently logged in the audit trail.

## Slide 5
Swimlane — Who Does What
Roles and responsibilities across the complete workflow
Lab Admin
1 Master Data setup
2 Form Templates & Checkpoints
Lab Manager
4 WAP — assign tasks
Workload balancing
Capacity & certification check
Analyst
3 Sample Registration
4 Work Queue — pick task
5 Testing Execution
QC Lead
7 Peer review sign-off
Verify calculations
CoA draft validation
QA
1 Approve Master Data
2 Approve Form Templates
8 Final review & release
System (Auto)
3 Barcode label printed
5 Auto-calculate results
5 OOS flag raised
Segregation of duties enforced by the system — analyst cannot approve own results · QC Lead cannot enter raw data · QA cannot be the same person as analyst · Admin can reset but not alter results.

## Slide 6
Workflow Overview — Part 1 of 3: SETUP
Master Data · Parameters · Checkpoints · Sample Registration · Instrument Management
S
E
T
U
P
Master Data
• Lab · Location · Site code
• Instruments · Calibration due
• Materials · UOM · Shelf life
• Test Methods · SOP reference
• Specifications · version-ctrl
• Form Templates per form type
• Reagents & Standards · lot
• Users · Roles · Permissions
▶
Parameters
• Defined once — reused everywhere
• Name · unit · data type · formula
• Calc formula (auto-result)
• Table-lookup (e.g. SG → Conc%)
• Critical flag — mandatory freq
• In-house & regulatory spec limits
• Column-level frequency
Daily / Weekly / Periodic
▶
Checkpoints
• Single: one location, one form
• Grouped: multi-location, one form
• Time-based (scheduled clock)
• Operator scan (per-batch)
• Process Log: shift-based grid
• Dispatch: Delivery Order raised
• Per-batch: no fixed schedule
• Critical params always enforced
▶
Sample Registration
• Login & site selection
• Material Receipt — lot/supplier
• Create Sample — auto ID
• 5-check Validation Gate
Spec · Cal · Expiry · Training
• Spec-driven test assignment
• Form Template selected
• SRF e-sign → Work Queue
▶
Instrument Management
• Register instruments in master
• IQ / OQ / PQ qualification
• Calibration schedule & alerts
• Calibration execution + QA sign
• Usage log — every test use
• Preventive maintenance schedule
• Breakdown / repair workflow
• Status: Available/In-Use/OOC
Master Data is the foundation — all other modules depend on entities configured here. All entities are configurable per site, per lab, per product type.

## Slide 7
Workflow Overview — Part 2 of 3: EXECUTION
Testing Execution · Process Log · Digital Logbook · OOS Investigation · Results Management
E
X
E
C
U
T
I
O
N
Testing Execution
• Work Queue — sorted by due date
• Verify instrument calibration
• Start test → log start time
• Capture data: manual or import
• Auto-correction (e.g. SG→25°C)
• Auto-calculate result (formula)
• OOS/OOT auto-flag vs spec
• Attach evidence → e-sign
▶
Process Log
• Clock-based shift testing
• Fixed time slots per shift
• Pre-populated slot grid
• Parameters per slot — configurable
• Shaded cells = not due this slot
• OOS auto-flags identically
• Row e-signed and locked
• Covers continuous process monitoring
▶
Digital Logbook
• Real-time record of every test
• Date/time auto-stamped (not editable)
• Checkpoint · location · parameter
• Raw data + calculated result
• Pass/Fail flag vs spec limits
• Instrument ID + cal status at time
• Analyst identity · e-sig · timestamp
• Locked after signing — no overwrite
▶
OOS Investigation
• Phase 1 — Lab Investigation
Clerical/calc error check
Instrument log review
Analyst re-test if justified
• Phase 2 — Full Investigation
Root cause analysis + CAPA
QA review & approval required
• Batch gated until closed
▶
Results Management
• Auto-compare results to spec
• Peer review — 4-eyes principle
• QC Lead verification (e-sig)
• Link evidence — attachments
• Consolidate all test results
• Generate CoA Draft (auto)
• CoA header auto-populated
• Results immutable from here
Process Log runs in parallel to the Work Queue for continuous monitoring scenarios. Digital Logbook is auto-populated — analyst never creates logbook entries manually.

## Slide 8
Workflow Overview — Part 3 of 3: OUTPUT & COMPLIANCE
QA Review · CoA Generation · Dispatch QC · Traceability · Stability · Dashboards
O
U
T
P
U
T
QA Review & Release
• Auto-arrives after Results done
• Read-only view — all results
• OOS/deviation gate (hard block)
• Validate CoA draft (checklist)
• QA Decision: Approve / Reject
• Approve → CoA PDF locked
Status → RELEASED
• Reject → mandatory justification
▶
CoA Generation
• Template-driven auto-population
• Header: Product · Batch · Dates
• Customer · Despatch Date · DO No.
• Body: Test | Spec | Result | P/F
• In-house + regulatory spec shown
• e-Sig: Analyst+QC Lead+QA
• PDF locked after QA sign-off
• Distributed + archived to ERP
▶
Dispatch QC
• Trigger: Delivery Order raised
• Product · Container assigned
• Tests: configurable per product
• Pass → product CLEARED for dispatch
• Fail → blocked, OOS investigation
• Links to CoA + DO reference
• Fully configurable test set
• Covers any outgoing product type
▶
Traceability & Compliance
• Lot ↔ Sample ↔ Test ↔ Instrument
• Upstream: supplier · reagent · cal
• Downstream: batch · CoA · recall
• 21 CFR Part 11 e-signatures
• EU GMP Annex 11 compliant
• ALCOA+ data integrity
• Audit trail: immutable every action
• Instrument OOC auto-flags results
▶
Stability & Dashboards
• Stability: ICH Q1A pull schedule
• T-7/T-1 alerts · shelf-life calc
• Sample inventory & retain mgmt
• Pull execution → auto-registration
• WIP dashboard — live counts
• TAT tracking + breach alerts
• Quality KPIs: OOS% · RFT rate
• Instrument status board · alerts
Dispatch QC is configurable for any outgoing product type. All test parameters, acceptance limits and trigger conditions are defined in Master Data — no hardcoding required.

## Slide 9
Form Template
Go to Master Data → Form Templates → New
Give it a name and Form ID (e.g. LAB-F-10)
Choose the trigger — daily time, scan, every 4 hours, or Delivery Order
Add locations — one column per tank/vessel/location if it is a grouped form
Add parameters — link to Test Method, set spec limit, frequency (daily/weekly), and mark critical ones with *
Set instrument type required and whether evidence upload is mandatory
Save as Draft → Submit to QA
QA approves → Status goes to Active → Form opens automatically on next trigger
Two things that must exist BEFORE you can create a Form Template:
The Test Method with its parameters must already be in Master Data
The Specification with limits must already be approved

## Slide 10
Master Data
Foundation layer — all entities are configurable per site, lab and product type

## Slide 11
Master Data — Entities & Key Fields
Versioning and QA approval required on all entities · All linked and version-controlled · No hardcoded values
#
Category
Purpose
Key Fields
Linked To
Examples
1
Laboratory
Lab location / unit
Lab Name, Location, Type, Site
Instruments, Users
Configurable per site
2
Instrument Master
Analytical equipment catalog
ID, Type, Model, Serial, Cal Due
Test Methods, Lab
Any instrument type
3
Material Master
All materials under test
Name, Type, UOM, Shelf Life
Specs, Samples
Chemicals, APIs, reagents
4
Test Method
Validated analytical procedure
Method ID, Type, Parameters, SOP Ref
Specs, Instruments
Any analytical method
5
Specification
Acceptance limits per material
Min/Max, In-house, Regulatory Tier
Material, Methods
Configurable limits
6
Form Template
Defines digital form layout
Form ID, Columns, Frequency, Trigger
All forms
Any LAB form type
7
Sample Type
Sampling category
Sample Type, Matrix, Stage
Material, Specs
Raw Mat, In-Process, FP
8
Reagents & Standards
Reference and working standards
Lot No, Potency, Expiry
Test Methods
Any standard type
9
Users & Roles
Access control and authorization
Role, Permissions, Lab Assignment
All modules
Analyst, QC Lead, QA, Admin
All entities are configured in Master Data — no values are hardcoded in the application. Adding a new product, material, instrument or test requires no code change.

## Slide 12
Master Data — Dependency Tiers & Setup Workflow
Tier 1: Foundation → Tier 2: Configuration → Tier 3: Operational
Tier 1 — Foundation
• Lab: create site record → assign lab code, type and location
• Users: define role permissions → assign to groups, labs and sites
• Form Template: define form layout, parameters, frequency and trigger type
Tier 2 — Configuration
• Instruments: registration → calibration schedule → method and lab linking
• Materials: add material name, type, grade, storage conditions and shelf life
• Test Methods: draft → validation → QA approval before use in any testing
Tier 3 — Operational
• Specifications: version-controlled draft → in-house + regulatory limits → product linkage
• Sample Types: category definition → test matrix assignment → sampling frequency
• Reagents & Standards: receive → log lot/potency/expiry → QC approval before use
Dependency Rules:
• Instrument → Lab
• Specification → Material + Test Method
• Sample → Material + Spec
• Test Method → Instrument Type
• Reagents → Test Method
• Form Template → Test Method + Trigger

## Slide 13
Parameters — Definition, Setup and Link to Checkpoints
A Parameter = one measurable property. Defined once — reused across all test forms, logbooks and CoAs.
Step 1
Define in
Test Method
• Parameter name (e.g. Concentration%, pH, Turbidity, Purity)
• Unit of measure: ppm / % / g/ml / NTU / uS/cm / mg/kg
• Data type: Numeric / Text / Pass-Fail
• Formula: standard expression or table-lookup
• Required instrument type (configurable)
• Critical flag: marks parameter as mandatory
▶
Step 2
Set Limits
in Spec
• In-house spec: min / max acceptance limits
• Regulatory spec tier: any standard (MS, USP, EP, ISO…)
• Version-controlled and QA-approved before use
• Column-level frequency: Daily / Weekly / Periodic
e.g. basic params daily · advanced params weekly
• Critical params: system enforces — skippable with reason
▶
Step 3
Group in
Checkpoint
• Single checkpoint: one location, one form
• Grouped checkpoint: multi-location, one form
e.g. 6 tanks on one daily form
Each column holds its own spec limit
• Process Log mode: time-slot grid (configurable hrs)
• Critical params always enforced per slot
▶
Step 4
Result
Output
• Data entry field on the test form
• Auto-calculated result (formula or table-lookup)
• Pass/Fail vs in-house AND regulatory spec
• OOS/OOT flag raised automatically if outside limits
• Timestamped, e-signed row in Digital Logbook
• Line in Certificate of Analysis (CoA)
Parameters are defined ONCE — the system reuses the same definition across every checkpoint, test form, logbook entry and CoA. No duplication. Adding a new product needs only new specs — not new parameters.

## Slide 14
Checkpoints
4 Trigger Modes · Single & Grouped Forms · Process Log · Dispatch QC

## Slide 15
Checkpoint Trigger Modes — All 4 Modes
All 4 modes feed the same Work Queue or Process Log — analyst experience is consistent regardless of trigger
Mode 1 — Time-Based Trigger
• System auto-creates test tasks at any scheduled clock time
• Configurable: daily, twice-daily, every N hours, custom slots
• ALL parameters in checkpoint pushed to Work Queue on trigger
• Example: daily morning shift trigger at 08:00 for process monitoring
• No human action needed — system drives the test schedule
Mode 2 — Operator Scan Trigger
• Operator physically scans QR/barcode on equipment or container
• Correct checkpoint auto-loads from scan — no manual lookup
• Used for per-batch checkpoints or event-driven testing
• Offline-capable: scan queued and synced on reconnect
• Immutable audit trail: who scanned, when, which equipment
Mode 3 — Process Log (Shift-Based)
• Clock trigger: configurable intervals (e.g. every 4 hours)
• Pre-populated time-slot grid opened for the current day
• Each slot tests a configurable set of parameters
• Shaded / locked cells = parameter not due this slot
• Row e-signed and locked immediately after entry
Mode 4 — Dispatch Event Trigger
• Triggered when a Delivery Order (DO) is raised in the system
• Product type, container and destination auto-assigned as context
• Test set is configurable per product type — not hardcoded
• Pass → product status CLEARED for dispatch
• Fail → blocked; OOS investigation required before release
All trigger modes, frequencies and parameter sets are configurable in Master Data. No code change is required to add a new checkpoint, product or test schedule.

## Slide 16
Grouped Checkpoint — Multi-Location Form
One trigger · Multiple locations on one form · Each column has its own configurable specification limit
Location 1
e.g. Storage Tank A
Parameter ≥ configured min
+ secondary param · Trigger: configurable
Location 2
e.g. Storage Tank B
Parameter ≥ configured min
+ secondary param · Trigger: configurable
Location 3
e.g. Process Unit C
Parameter — no limit set
+ secondary param · Trigger: configurable
Location 4
e.g. Compressor A
Parameter ≥ configured min
+ secondary param · Trigger: configurable
Location 5
e.g. Compressor B
Parameter ≥ configured min
+ secondary param · Trigger: configurable
Location 6
e.g. Incoming Storage
Parameter ≥ configured max
+ secondary param · Trigger: configurable
One single trigger opens one form covering all configured locations. Each column is validated independently against its own spec. Number of locations, parameters and specs are all configurable — no limit.

## Slide 17
Sample Registration
Login · Material Receipt · Validation · Test Assignment · SRF · Work Queue

## Slide 18
Sample Registration Workflow
Login → Receipt → Create Sample → Barcode Label → Validation → Assign Tests → SRF → Queue
1
Login & Site
• Role-based login (Analyst / QC Lead / QA)
• Site selection — multi-lab support
• Role determines available actions
2
Material Receipt
• Select material from Material Master
• Lot No, Quantity, Supplier, MFG/EXP dates
• Link to PO / Supplier COA if available
3
Create Sample
• Auto-generated Sample ID: configurable
• Sample Type: Raw / In-Process / Finished
• Sampling point, sampled-by, date/time
NEW
4
Barcode Label
Printed
• QR/barcode label auto-generated
• Printed instantly on registration
• Pre-linked to Sample ID, lot, test list
• Analyst sticks on container — no handwriting
5
Validation Gate
• Material lot not expired ✔
• Approved specification exists ✔
• Instrument calibrated & available ✔
• Analyst trained · Reagents in stock ✔
6
Assign Tests
• Spec drives auto-test assignment
• Form Template determines form layout
• Manual override with documented reason
7
SRF & Queue
• Sample Request Form auto-generated
• Analyst e-signs (21 CFR Part 11)
• Status: REGISTERED → PENDING TESTING
Barcode Label — What's printed
• Sample ID (QR + human-readable)
• Material name + Lot number
• Test list pre-linked to label
• Date registered + Analyst name
• Site code + Form Template ref
• Scan at any point = opens correct task
Barcode label printed at Step 4 — container is labelled before any testing begins. Analyst scans the label at testing time instead of typing the sample ID. Eliminates transcription errors. Chain of custody from container to CoA.

## Slide 19
Testing Execution
Work Queue · Instrument Verification · Data Capture · OOS · Sign-Off

## Slide 20
Testing Execution — Work Queue & Resource Planning
WAP assigns right analyst to right test · Work Queue drives execution · System handles OOS, calc, audit
Work & Resource Planning (WAP) — Before the Analyst Opens the Queue
Lab Manager View
• Calendar view of all open tasks
• Analyst availability & capacity
• Instrument certification status
• Assign task to best-fit analyst
• Workload balance across the team
Smart Assignment Rules
• Match task to trained analyst
• Check instrument availability
• Avoid overloading one person
• Consider due date urgency
• Certification expiry included
What changes for Analyst
• Work Queue shows assigned tasks only
• No searching for relevant tests
• Priority already set by manager
• Capacity never exceeded
• Start work — system does the rest
↓ Analyst opens Work Queue — tasks already assigned, prioritised and ready
#
Step
What Happens
UI / Screen
Key Point
1
Open Work Queue
Assigned tasks shown — sorted by urgency. Sample · test · instrument visible.
Work Queue Screen
WAP has already assigned the right analyst
2
Scan or Select
Scan barcode on container OR tap task. Test form opens instantly.
Barcode scan / tap
Scan = zero typing, no ID lookup needed
3
Verify Instrument
System checks calibration status before start. Blocks if overdue.
Instrument check
Hard block — no workaround possible
4
Enter Results
Key in readings or import instrument data file. System auto-calculates.
Data entry / Import
No manual formula — no transcription error
5
OOS Check (Auto)
System compares instantly vs spec. FAIL → investigation. PASS → sign-off.
Alert + deviation
Raised the moment analyst submits
6
Attach Evidence
Upload printout, photo or instrument file. Mandatory before signing.
Attachment section
Mandatory for critical tests
7
Analyst Signs Off
Digital signature + reason. Timestamp locked. Result immutable.
e-Sig dialog
21 CFR Part 11 compliant
Purple = new additions (WAP + Barcode scan)
WAP sits above the Work Queue — manager uses it once to assign and balance. Analyst experience is unchanged except tasks arrive pre-assigned. Barcode scan at Step 2 replaces manual sample ID lookup.

## Slide 21
OOS / OOT Investigation Workflow
Mandatory investigation before any batch proceeds · All phases require electronic sign-off
Result
Entry
▶
OOS
Triggered
▶
Phase 1
Lab Investigation
▶
Phase 2
Full Investigation
▶
Decision
▶
Disposition
Phase 1 — Lab Investigation
• Check for clerical/calculation errors
• Review instrument logs & calibration records
• Analyst re-test if scientifically justified
• Document all findings with supporting evidence
• Outcome: assignable cause found OR escalate to Phase 2
Phase 2 — Full Investigation
• Invalidate original result if assignable cause confirmed
• Manufacturing / raw material root cause analysis
• CAPA creation if systemic issue identified
• QA review and formal approval required
• Outcome: Pass / Reject / Retest / Complaint link
Compliance Controls
• All OOS events logged and linked to sample + test
• Investigation must close before batch proceeds to QA Review
• Every phase requires electronic sign-off (21 CFR Part 11)
• Results cannot be altered after sign-off — only superseded
• Audit trail captures every action and decision immutably

## Slide 22
Process Log — Continuous Shift-Based Testing
Clock-based configurable intervals · Time-slot grid · Parallel to Work Queue · Row-level sign-off
What is the Process Log?
• A dedicated screen separate from the Work Queue
• Pre-populated time-slot grid for the current day
• Time slots: fully configurable (e.g. every 4 hrs)
• Parameter groups per slot: configurable in Master Data
• Critical (*) parameters: tested every slot
• Non-critical parameters: tested at set frequency only
• Shaded / locked cells = not due this slot — leave empty
• OOS auto-flags identically to main workflow
• Each row e-signed and locked after entry — no edits
• Data pushed to server in real time
Process Log Flow
Clock hits
time slot
▶
Row unlocks
in screen
▶
Analyst enters
configured
parameters
↓
OOS check
runs instantly
▶
Analyst
e-signs row
▶
Row locked
& logged
Time slot intervals, parameter groups and critical flags are all configured in Master Data. The Process Log screen works for any continuous monitoring scenario — not limited to a specific product or industry.

## Slide 23
Results Management
Calculate · Peer Review · Verify · CoA Draft · QA Release

## Slide 24
Results Management — Data to CoA
Data → Calculate → Peer Review → Verify → Consolidate → CoA Draft → QA Review
Workflow Step
What Happens
UI / Screen
Key Point
Capture Raw Data
Analyst enters readings or imports instrument data file
Data Entry / Import
Linked to method parameters
Auto-Calculate Result
System computes final result using method formula
Result (read-only, auto)
No manual calculation allowed
Compare to Specification
Each result checked against in-house + regulatory limits
Pass / Fail flag
Immediate visual feedback
OOS / OOT Flag
Out-of-spec result triggers alert + investigation
Alert + deviation form
Mandatory investigation before proceed
Peer Review
Second analyst reviews data entry and calculation
Review panel + e-sig
4-eyes principle — ensures data integrity
QC Lead Verification
QC Lead e-signs — cannot be the same analyst
Verification button
Hard segregation of duties
Link Evidence
Instrument output, worksheets, photos attached
Attachment tab
Audit-ready documentation
Consolidate Results
All tests grouped into one results record for sample
CoA Preview screen
All tests must be complete
Generate CoA Draft
Certificate of Analysis auto-populated from product master
CoA Template render
Template tied to product + form template
QA Final Review
QA reviews consolidated results + CoA
QA Review screen
Last gate before release
Release
Status → Released; CoA PDF locked and distributed
Release + e-sig
Triggers material availability in ERP
Results are immutable from the moment the QC Lead verifies. The only path forward is QA approval or rejection. All data changes are permanently audit-logged.

## Slide 25
QA Review & Release — Step by Step
Final gate before any sample is released · All OOS must be resolved · Immutable audit trail
1
Sample in QA Queue
• Auto-arrives after Results Management complete
• Status: PENDING QA REVIEW
• QA independence from lab work — core GMP requirement
2
Open Review Screen
• Read-only view of all results + raw data
• Peer review signatures + QC Lead verification visible
• Instrument audit trails + deviation records accessible
3
Check OOS / Deviations
• Hard gate — any open OOS blocks review
• All deviations must have documented outcome
• System-enforced — QA cannot proceed past this gate
4
Validate CoA Draft
• All test steps complete — no gaps
• All required attachments present
• Correct approved specification version was used
• All e-signatures from analyst + peer + QC Lead in place
5
QA Decision
• APPROVE → e-sig applied, CoA PDF immediately locked
• Status → RELEASED, CoA distributed and archived
• REJECT → mandatory written justification required
• Status → REJECTED, sent back for rework
6
Audit Trail
• Who reviewed, when, what decision, any comments
• Supports regulatory inspections and investigations
• Immutable — cannot be deleted even by admin

## Slide 26
Certificate of Analysis
Auto-generated · QA-approved · Locked PDF · Fully configurable template

## Slide 27
CoA Generation — Template Engine & Trigger Points
How the Form Template drives the CoA layout · What events trigger CoA creation · PDF lock flow
What Triggers CoA Creation:
All Tests
Completed
Every test step
e-signed by analyst
▶
Peer Review
Done
2nd analyst
e-signs
▶
QC Lead
Verified
QC Lead
approves results
▶
CoA Draft
Auto-Generated
System pulls from
Form Template
▶
QA
Approves
e-sig applied
PDF locked
▶
Dispatch QC
Passes
DO triggers CoA
header population
How the Form Template Drives the CoA:
Form Template
(Master Data)
• Form ID linked to product type
• Column definitions: param + unit + freq
• Trigger type: time / scan / dispatch
• Regulatory spec tier (in-house / standard)
▶
CoA Header
(Auto-populated)
• Product Name + Batch No (from sample)
• Manufacturing Date + Expiry Date
• Customer + Despatch Date (from DO)
• Delivery Order No. + Packing type · COA No.
▶
CoA Body
(From Results)
• Test Name pulled from Test Method
• Specification: in-house + regulatory
• Result: verified LIMS calculated value
• Pass/Fail flag · Method ref · Analyst
▶
Authorization
(e-Signatures)
• QC Analyst e-sig + timestamp
• QC Lead verification e-sig
• QA approval e-sig + date
• 21 CFR Part 11 + Annex 11 compliant
Key rule: CoA cannot be issued until ALL gates are passed: all tests complete · peer review done · QC Lead verified · all OOS investigations closed · QA approval signed. For dispatch products: DO also required.

## Slide 28
Dispatch QC
Outgoing Product · Delivery Order Triggered · Configurable Test Set · Links to CoA

## Slide 29
Dispatch QC — Outgoing Product Workflow
Triggered by Delivery Order · Analyst tests before dispatch · Configurable per product type
DO Raised
& Entered
DO No. entered
or ERP auto-push
▶
Product QC
Task Created
Product, Container
Lot assigned
▶
Analyst Tests
Sample
Configurable test
set per product
▶
Pass / Fail
Check
Auto vs
spec limits
▶
Analyst
Signs Off
21 CFR Part 11
e-signature
▶
Product
CLEARED
Status → Ready
for Dispatch
What Makes Dispatch QC Configurable
Product Types
• Any outgoing product configurable in Master Data
• Each product type has its own test set and spec limits
• No limit on number of product types or test parameters
• Examples: liquid chemicals, gases, solid materials, formulations
Test Parameters
• Concentration / Purity / Assay %
• Specific Gravity @ Temperature
• Available Active Content (ppm / %)
• Any analytical parameter configurable
Trigger & Linking
• Triggered by DO from ERP or manual entry
• Auto-populates CoA header: Customer · DO No. · Date
• CoA cannot be issued until Dispatch QC passes
• Full traceability: DO ↔ Sample ↔ Result ↔ CoA
Dispatch QC vs Incoming QC: Incoming QC = material received from supplier, tested before use in production. Outgoing QC = finished product checked before leaving site. Both are configurable for any product type.

## Slide 30
Traceability
Material Lot ↔ Sample ↔ Test ↔ Instrument ↔ Analyst ↔ Result ↔ CoA

## Slide 31
Traceability — Sample as Central Node
Every entity links to the Sample · Upstream = origin · Downstream = usage · Context = how & who
Sample
Central traceability node
Material Lot
Supplier · COA · expiry
Reagent & Standard
Lot · potency · used in test
Instrument
Cal cert · usage log
Test Result
Method · analyst · value
Certificate of Analysis
Locked · distributed
Batch Record
ERP / MES link
Analyst
Who · when · role
Test Method
Version · SOP ref
Upstream (origin)
Downstream (usage)
Upstream: trace back to supplier lot · reagent potency · instrument calibration cert · SOP version in effect at time of test | Downstream: which batches, which CoA, recall scope | All nodes are drill-down

## Slide 32
Traceability — Full Chain Detail
Every result links: Lot ↔ Sample ↔ Test ↔ Instrument ↔ Analyst ↔ Result ↔ CoA
Material
Lot
▶
Sample
ID
▶
Test /
Method
▶
Instrument
▶
Analyst
▶
Result /
CoA
Upstream — Where did it come from?
• Material lot origin — supplier COA and shelf life check
• Reagent & standard lot used in the specific test
• Calibration certificate valid at time of test
• SOP / method version in effect at time of testing
• Sampling event: who sampled, when, where, quantity
Downstream — Where did it go?
• Which batches used this material lot
• Which CoA was issued for this result
• Which finished products were released using this lot
• Any complaints or deviations linked to this lot
• Recall scope determination — traceable in seconds
Traceability UI
• Graph view: node-based relationship map
• Filter by Batch, Lot, Date, Analyst, Instrument
• Drill-down from any node to full detail
• Audit trail per entity: who/when/what changed
• Export full chain for regulatory audit
Use cases: Failed result → trace reagent lot + instrument · Contaminated raw material → trace all batches released · Audit request → full chain in one view

## Slide 33
Additional Modules
Digital Logbook · Stability Testing · Instrument Management · Sample Inventory · Dashboards

## Slide 34
Digital Logbook — Real-Time Lab Record
Electronic replacement for the paper lab notebook · FDA and GMP mandatory
What the Logbook Captures
• Date and time of test (auto-stamped — not editable)
• Checkpoint ID and location
• Parameter name and unit (configurable)
• Raw data entered by analyst
• Calculated result (system-computed — not editable)
• Spec limits and Pass / Fail status
• Instrument ID and calibration status at time of test
• Analyst identity (who entered the result)
• Electronic signature and timestamp (21 CFR Part 11)
• Attached evidence file
• Trigger source: time-based / operator scan / process log
Why It Matters
• Replaces paper lab notebooks — eliminates transcription errors
• ALCOA+: Attributable · Legible · Contemporaneous · Original · Accurate
• 21 CFR Part 11: unique credentials + timestamp + reason on every entry
• Instant OOS detection — system flags the moment analyst submits
• Inspection-ready in seconds — filter by parameter, date, location
• Once e-signed the row is locked — no deletion, no overwrite
• Only a new official retest can supersede a locked entry
• Logbook vs Audit Trail:
• Logbook = WHAT was measured and WHAT the result was
• Audit Trail = WHO changed WHAT data and WHEN

## Slide 35
Stability Testing Workflow
Protocol Setup → Sample Pull → Time-Point Testing → Reporting & Release · ICH Q1A
Protocol Setup
• Define product, conditions (configurable)
• Time-points: T0, 1M, 3M, 6M, 9M, 12M, 24M+
• Link test methods and approved specifications
• Assign storage locations per ICH Q1A
• Version-controlled and QA-approved before use
• Auto-schedule pull reminders (T-7 and T-1 alerts)
• Required quantity per time-point defined upfront
▶
Sample Pull
• Pull task assigned to analyst from scheduler
• Confirm storage location and container ID
• Weigh and record actual quantity pulled
• Inventory balance deducted on confirmation
• Short pull deviation auto-logged with reason
• Auto-triggers sample registration for testing
• Missed pull escalation if not confirmed on date
▶
Time-Point Testing
• System auto-opens test tasks for the time-point
• Follows standard test execution workflow
• Instrument data captured with date/time stamp
• OOS investigation mandatory at any time-point
• Accelerated and long-term data tracked separately
• Reagent and standard lot recorded per test
• Analyst e-sign off per step (21 CFR Part 11)
▶
Reporting & Release
• Trend graphs auto-generated per test parameter
• Statistical analysis: slope, R², regression
• Shelf-life prediction from degradation rate data
• ICH-compliant stability summary report generated
• QA sign-off on final stability report (e-sig)
• Expiry date determination documented in system
• Linked to batch records for full traceability
Regulatory: ICH Q1A · ICH Q1E · 21 CFR 211.166 · All stability data is immutable and QA-approved before expiry date is assigned. Storage conditions and time-points are fully configurable.

## Slide 36
Instrument Management Workflow
Master → Qualification → Calibration → Usage Log → Maintenance → Status
Instrument
Master
▶
Qualification
(IQ/OQ/PQ)
▶
Calibration
Schedule
▶
Usage
Log
▶
Maintenance
▶
Status
Mgmt
Activity
What Happens
Key Fields
Compliance Point
Instrument Master
Register all lab instruments
ID, Type, Model, Serial, Location, Lab
Mandatory before any test assignment
IQ / OQ / PQ
Installation, Operational, Performance Qualification
Protocol, Date, Result, Approved by
One-time setup — required before first use
Calibration Schedule
Auto-remind calibration due date
Cal Due Date, Frequency, Method
Block instrument if overdue
Calibration Execution
Calibration performed, data recorded
Standard used, Results, Pass/Fail
Requires QA approval to clear
Usage Log
Every test use recorded against instrument
Test ID, Analyst, Date, Duration
Full traceability of instrument usage
Preventive Maintenance
Scheduled servicing tracked
PM Schedule, Service Date, Technician
Alert system for overdue PM
Breakdown / Repair
Unscheduled repair workflow
Issue description, Repair record
Block instrument during repair
Status Management
Real-time availability status
Available / In-Use / Maintenance / OOC
Drives test assignment logic
Out-of-Calibration (OOC) Impact: All tests performed on an OOC instrument are automatically flagged for review and potential invalidation. Any instrument type can be registered.

## Slide 37
Sample Inventory & Pull Planning
Storage Mgmt → Stability Pull Schedule → Retain Sample Mgmt → Pull Execution
Sample Storage Management
• Storage location master: room, chamber, shelf
• Conditions per location: temp, humidity, light
• Assign each sample/lot to storage location
• Real-time inventory count per location
• Low-stock alert threshold configurable
• Condition excursion logging with impact assessment
• Location transfer log with chain of custody
▶
Stability Pull Scheduling
• Protocol-driven: ICH Q1A conditions defined
• Auto-calculate pull due dates from T0
• Time-points: T0, 1M, 3M, 6M, 9M, 12M, 24M+
• Reminder alerts at T-7 days and T-1 day
• Missed pull escalation to QC Lead / QA
• Required quantity per time-point pre-defined
• Accelerated vs long-term schedules tracked separately
▶
Retain Sample Management
• Register retain lot per batch at release
• Retention period: configurable (e.g. shelf life + 1 yr)
• Storage location assigned and tracked
• Destruction due date auto-alert (T-90, T-30 days)
• Recall retrieval workflow with chain of custody
• QA approval required for early destruction
• Linked to batch record and CoA for traceability
▶
Pull Execution
• Analyst receives pull task in Work Queue
• Confirm storage location and container ID
• Weigh and record actual quantity pulled
• Inventory balance deducted on confirmation
• Short pull deviation auto-logged with reason
• Auto-triggers Sample Registration on confirm
• Full pull event audit trail: who, when, quantity
Regulatory: 21 CFR 211.170 · ICH Q1A · EU GMP Ch 6 · Pull execution auto-triggers Sample Registration — no manual handover required. Retention periods are configurable per product type.

## Slide 38
Real-Time Dashboards & Lab KPIs
WIP · TAT · Quality KPIs · Instrument Status · Automated Alerts · Compliance Readiness
Work-In-Progress (WIP)
• Samples registered vs tested — live count
• Tests pending / in-progress / completed today
• Analyst workload: tasks per person right now
• Overdue tests highlighted with TAT breach flag
• Filter by lab, analyst, sample type, date range
Turnaround Time (TAT)
• Average TAT per test type — rolling 7/30 days
• TAT breach alerts: sample exceeds configured target
• TAT by analyst: identify team bottlenecks
• TAT trend chart: improving or degrading over time
• Configurable TAT targets per material and test type
Quality KPIs
• OOS rate: % of tests failing spec this period
• Right-First-Time (RFT) rate per analyst or method
• Retest rate: how often results are superseded
• CAPA open count and average resolution time
• First-pass yield per product type — trend view
Instrument Status Board
• All instruments: Available / In-Use / Maintenance / OOC
• Calibration due in next 7 / 30 days — colour-coded
• Utilisation rate per instrument
• OOC events: list + count for the period
• Instrument-linked result count — traceability shortcut
Automated Alerts & Notifications
• OOS result raised → QC Lead + QA notified instantly
• Calibration due → instrument owner + QA alerted
• Missed pull → QC Lead escalation (T-7, T-1, overdue)
• Stability time-point approaching → task auto-created
• All alerts server-pushed — no polling required
Compliance & Audit Readiness
• Audit trail search: who/when/what across any date range
• CoA history: all issued CoAs by product, lot, or analyst
• OOS log: all investigations with status and outcome
• Electronic signature log: every sig — user, time, reason
• Export full compliance report as PDF in one click
All dashboards are role-filtered: Analyst sees own tasks + TAT. QC Lead sees team WIP + KPIs. QA sees compliance dashboard + audit trail. Admin sees full system health. All data server-calculated.

## Slide 39
Compliance & Data Integrity
21 CFR Part 11 · EU GMP Annex 11 · ALCOA+ · Regulatory Classification

## Slide 40
EU GMP Annex 11 Compliance — Computerised Systems
Full alignment with Annex 11 · 21 CFR Part 11 · ALCOA+ · Data Integrity requirements
Validation (Annex 11.4)
• System validated before use in production
• Validation plan, IQ/OQ/PQ documented
• Change control for all post-go-live changes
• Periodic review of validation status
Electronic Signatures (Annex 11.11 · 21 CFR Part 11)
• Unique credentials per user — no shared logins
• Timestamp + reason statement on every signature
• Cannot be copied, repudiated or falsified
• Applied at: test sign-off, QA approval, CoA, OOS
Audit Trail (Annex 11.10)
• Immutable log of ALL create/update/delete actions
• Records: who, when, what changed, old value, new value
• Cannot be disabled or edited — even by admin
• Generated automatically — no analyst action needed
Data Integrity — ALCOA+ (FDA / MHRA / WHO)
• Attributable: every entry linked to a user identity
• Legible: structured data — no free-text ambiguity
• Contemporaneous: timestamp auto-captured at entry
• Original: no overwrite — only new superseding entry
Access Control (Annex 11.6)
• Role-based: Analyst / QC Lead / QA / Admin
• Analyst cannot approve own results — hard system rule
• QA cannot enter raw data — segregation enforced
• Admin can reset passwords but cannot alter results
Backup, Recovery & Continuity (Annex 11.17)
• Regular automated backups of all LIMS data
• Recovery procedure tested and documented
• Offline-capable mode: queued, synced on reconnect
• No single point of failure for critical operations
Annex 11 applies to all computerised systems used in GMP-regulated activities. Periodic audits must verify audit trail integrity, user access logs, and backup/recovery records.

## Slide 41
GMP Data Integrity — ALCOA+ in Practice
How each ALCOA+ principle is enforced at every step of the LIMS workflow
A
Attributable
Every entry, calculation and decision is linked to a named user with a timestamp.
• Login with unique credentials — no shared accounts
• e-Signature on every test step, review, and approval
• Analyst identity recorded in logbook row, audit trail, and CoA
L
Legible
All data is readable, permanent and structured — now and in the future.
• Structured data fields — no free-text for critical values
• System-enforced field types (numeric, text, pass/fail)
• PDF CoA locked after sign-off — cannot be reformatted or lost
C
Contemporaneous
Data recorded at the time the action occurs — not reconstructed later.
• Timestamp auto-captured at moment of entry — analyst cannot backdate
• Process Log rows must be filled during the shift, not after
• Work Queue task start time logged the moment analyst clicks Start
O
Original
First capture of data is preserved — corrections create new records, not overwrites.
• No overwrite: all corrections create a new superseding entry
• Original value + corrected value both stored in audit trail
• Deleted records kept as soft-delete with reason — never erased
A
Accurate
Data reflects the true result — no transcription, rounding or manual calculation errors.
• System auto-calculates from raw data using validated formulas
• Table-lookup formula: auto-converts raw measurement to result
• Instrument data: imported directly or verified by second analyst
+
Complete · Consistent · Enduring · Available
Extended ALCOA principles required by FDA, MHRA and WHO.
• Complete: system blocks partial sign-off
• Consistent: same format across all forms via Form Template engine
• Enduring: data retained per retention policy — never purged without QA approval
• Available: full chain retrievable on demand for any audit or recall
ALCOA+ is the FDA / MHRA / WHO data integrity standard for all GMP-regulated computerised systems. Every bullet above maps directly to a system control implemented in the LIMS workflow.

## Slide 42
Compliance & Data Integrity Controls
21 CFR Part 11 · EU GMP Annex 11 · ALCOA+ · Role-based segregation of duties
Control
Description
Where Applied
Electronic Signatures
21 CFR Part 11 / Annex 11 compliant
Test completion, QA review, CoA, OOS decisions
Audit Trail
Immutable log: who, when, what, old/new values on every action
Every module — create / update / delete
Data Integrity (ALCOA+)
Attributable, Legible, Contemporaneous, Original, Accurate+
Data entry, instrument import, result capture
Role-Based Access
Analyst / QC Lead / QA / Admin — hard segregation of duties
All modules; analyst cannot self-approve
No Data Deletion
Soft-delete only; all records retained with reason and timestamp
Samples, results, OOS events, instruments
OOS / Deviation Control
Mandatory Phase 1+2 investigation before batch can proceed
Testing Execution, QA Review, Release
Spec Versioning
Only current approved specification version used for testing
Sample registration, result comparison
Instrument Block
Tests hard-blocked on non-calibrated or under-maintenance instruments
Work Queue assignment, test start
CoA Lock
CoA PDF locked (read-only, tamper-evident) after QA sign-off
Certificate of Analysis — all output formats
Sample ID format is configurable: SITE-CODE + Material Code + Date (YYYYMMDD) + Sequence. Format can be set per site or per lab in the system configuration.

## Slide 43
Regulatory Requirement Classification
Tier 1: Mandatory · Tier 2: Strongly Recommended · Tier 3: Value-Add
Tier 1 — Mandatory | Required by regulation — no exceptions
Audit trail
Immutable log: who, when, what, old/new values
21 CFR Part 11 · EU GMP Annex 11
Electronic signatures
Unique credentials, timestamp, reason recorded
21 CFR Part 11 · EU GMP Annex 11
OOS investigation
Phase 1 + Phase 2 mandatory; locked until closed
FDA OOS Guidance 2006 · 21 CFR 211.192
Data integrity (ALCOA+)
Attributable, Legible, Contemporaneous, Original, Accurate+
FDA DI Guidance · MHRA · WHO
Specification management
Approved, version-controlled spec required before testing
ICH Q6A · 21 CFR 211.194
Retain sample records
Reserve samples kept per retention policy; chain of custody
21 CFR 211.170 · EU GMP Ch 6
Tier 2 — Strongly Recommended | GMP expectation in practice
Instrument calibration
Calibration records traceable to every result; OOC blocks testing
EU GMP Ch 6 · ISO 17025
Stability pull scheduling
ICH Q1A time-points met; missed pull = potential data invalidation
ICH Q1A · 21 CFR 211.166
CoA generation
Auto-generated, locked CoA traceable to verified LIMS results
21 CFR 211.194 · EU GMP Ch 6
Role-based access
Segregation of duties; analyst cannot self-approve results
21 CFR Part 11 · Annex 11
Full sample traceability
Lot ↔ Sample ↔ Test ↔ Instrument ↔ Analyst ↔ Result chain
FDA PAI readiness · GMP
Tier 3 — Value-Add | Operational efficiency
Sample storage inventory
Prevents stock-outs and missed pulls
Operational best practice
Pull planning automation
T-7/T-1 alerts prevent missed ICH time-points
Supports ICH Q1A compliance
TAT dashboards & alerts
Lab throughput visibility; overdue samples flagged in real-time
Operational best practice

## Slide 44
Design Principles & Governance
Salient Points · Architecture Contracts · Authentication

## Slide 45
Salient Design Principles
Core rules that govern every module and every sprint
#
Principle
Description
Why It Matters
1
Sample-Centric Design
All workflows revolve around the sample lifecycle
Simplifies navigation and traceability
2
Spec-Driven Testing
Tests auto-assigned from approved specification
Eliminates manual test selection errors
3
No Duplication Rule
Same data or screen must not exist in multiple places
Prevents data inconsistency
4
Instrument Blocking
Tests blocked if instrument not calibrated or available
Ensures data reliability
5
4-Eyes Principle
Analyst enters → QC Lead verifies → QA approves
Segregation of duties (GMP requirement)
6
Immutable Data
Results cannot be altered after e-sig — only superseded
Data integrity (ALCOA+)
7
OOS Gating
Batch cannot proceed to release while any OOS is open
Forces investigation completion
8
Versioning
Specs, Methods, Templates must have QA-approved versions
Tracks process changes historically
9
Full Traceability
Every result links: Sample, Method, Instrument, Analyst, CoA
Required for regulatory compliance
10
Audit Trail
Every action logged: who, when, what, old/new values
Supports all regulatory audits
11
B2B UI Design
Tables, filters, drill-downs — no decorative UI
Fits industrial analyst needs
12
Modular & Configurable
Each phase builds on previous — no hardcoded values
Add any product, site or test without code change

## Slide 46
Governance & Architecture Contracts
Rules that apply to every request and every sprint
Contract 1 — General Rules
• No code duplication — normalise any repeated logic into a shared function or component
• No dead code — remove all unused routes, components, or database fields
• No migration if existing DB can be updated in place — prefer alter over recreate
• DB portable: connection string swappable to any cloud DB with ZERO functional impact
• Consistent source of data — all calculations via normaliser, stored in separate table
• Clean separation: Backend, Frontend and Database must have no cross-dependencies
Contract 2 — Backend Architecture
• All compute and calculation on the server — never in client-side code
• All push events (OOS alerts, due-date reminders, calibration warnings) from server
• No hardcoded values — all configuration in database or environment variables
• Unified normaliser for data aggregation — consistent results across all UI screens
• Unified Pagination component — used everywhere pagination appears
Contract 4 — Authentication & Access Control
• Login page: username/password + Forgot Password + Remember Me functionality
• First-time setup: Tenant Admin creation flow before any other user can be created
• User types: Admin (full authority, reset any password) and Regular User (view-only by default)
• CRUD role model — each role defines exactly what the user can Create/Read/Update/Delete
• Regular users write only to areas explicitly defined in the project specification

## Slide 47
Summary
Complete LIMS — Configurable · Multi-site · GMP-compliant · Industry-agnostic
Master Data
Lab · Instruments · Materials · Specs · Form Templates · Methods · Users · All configurable
Parameters
Defined once · Critical flag · Column-level frequency · Table-lookup formula · Dual spec tier
Checkpoints
Time-based · Scan · Process Log (shift-based) · Grouped multi-location · Dispatch QC
Sample Registration
Receive → Validate (5 checks) → Form Template → SRF → Work Queue
Testing Execution
Work Queue · File import · Auto-correction · OOS Phase 1+2 · Evidence + e-sign
Process Log
Configurable intervals · Time-slot grid · Shift parameters · Row e-sign locked
Results Management
Peer review · QC Lead verify · Consolidate · CoA draft auto-populated
QA Review & Release
OOS gate · CoA validation · Approve/Reject · CoA PDF locked · Audit-logged
CoA Generation
Template-driven · Customer/DO header · In-house + regulatory spec · PDF locked
Dispatch QC
DO-triggered · Configurable per product type · Cleared → CoA issued
Traceability
Material Lot ↔ Sample ↔ Test ↔ Instrument ↔ Analyst ↔ Result ↔ CoA
Compliance
21 CFR Part 11 · EU GMP Annex 11 · ALCOA+ · Immutable audit trail · Tier 1/2/3

## Slide 48
LIMS Suitability — Pharmaceutical & Chemical Industry
Coverage assessment · Fully covered · Partially covered · Recommended additions
✔ Fully Covered
~ Partial / Configurable
+ Recommended Addition
Pharmaceutical Industry
21 CFR Part 11 e-signatures
On every test, QA approval, CoA, OOS
EU GMP Annex 11 compliance
Validation, audit trail, backup, access control
ALCOA+ data integrity
All 6 principles enforced by system controls
OOS / OOT investigation workflow
Phase 1 + Phase 2, CAPA, batch gating
Stability testing (ICH Q1A/Q1E)
Pull schedule, T-7/T-1 alerts, shelf-life calc
Sample traceability (Lot → CoA)
Full upstream + downstream chain
Version-controlled specifications
In-house + regulatory tier, QA-approved
Retain / reserve samples
Retention period, recall retrieval, chain of custody
Instrument calibration & OOC block
Blocks testing on non-calibrated instruments
CoA generation (21 CFR 211.194)
Auto-populated, QA-locked PDF
Method validation data capture
Parameters configurable — ELN module needed for full method lifecycle
Environmental monitoring (EM)
Configurable as process monitoring — dedicated EM module in roadmap
Microbiology / bioburden testing
Configurable as test type — growth promotion, ID workflow to add
Cleaning validation records
Dedicated cleaning verification workflow — Phase 2 addition
Batch record management (EBR)
Full MES/ERP integration for EBR — Phase 2 addition
Chemical Manufacturing
In-process monitoring (continuous)
Process Log: configurable shift-based testing
Multi-tank / multi-location forms
Grouped checkpoint — per-column specs
SG temperature correction
Table-lookup formula: Actual SG + Temp → %
Multi-parameter checkpoints
Any parameters grouped per location
Outgoing product QC (dispatch)
DO-triggered, configurable test set
Incoming raw material inspection
Supplier COA link, spec comparison
Tank / vessel monitoring
Grouped form covers multiple vessels simultaneously
Reagent & standard traceability
Lot, potency, expiry tracked per test use
ICP-OES heavy metals capture
File import or manual entry — weekly schedule
Dual spec (in-house + regulatory)
Both shown on form and CoA
Frequency-based parameter testing
Daily / weekly / periodic per column
IETS / effluent discharge monitoring
Configurable as process monitoring — alert thresholds configurable
Boiler / cooling tower / chiller
Configurable as utility monitoring checkpoint group
Supplier COA auto-verification
Auto-extract + compare to internal spec — Phase 3
Statistical process control (SPC)
Cp/Cpk, control charts, OOT predictive — Phase 3
✔ Fully covered = built and ready to configure · ~ Partial = configurable with current modules but dedicated feature adds value · + Recommended = Phase 2/3 roadmap additions

## Slide 49
Regulatory & Workflow Coverage by Industry
How LIMS maps to key regulations and workflows for each industry segment
Pharmaceutical (API / Formulation / QC Lab)
Key Regulations:
• 21 CFR Part 211 (cGMP)
• 21 CFR Part 11 (Electronic Records)
• EU GMP Annex 11
• ICH Q1A (Stability)
• ICH Q2(R1) (Method Validation)
• ICH Q6A/B (Specifications)
• FDA OOS Guidance 2006
• ALCOA+ (FDA/MHRA/WHO)
Workflows Covered:
✔ Raw material testing (identity, purity, potency)
✔ In-process controls (IPC) during manufacturing
✔ Finished product release testing
✔ Stability studies — accelerated + long-term
✔ Retain sample management
✔ CoA generation and customer distribution
✔ OOS/OOT investigation and CAPA
✔ Batch record and traceability
Recommended Additions:
+ Method validation lifecycle (ELN)
+ Environmental monitoring (dedicated module)
+ Cleaning validation records
+ Bioburden / microbiology workflow
Chemical Manufacturing (Batch / Continuous Process)
Key Regulations:
• ISO 17025 (Lab Competence)
• REACH / RoHS (substance compliance)
• Local regulatory standards (MS, SIRIM etc.)
• GHS / SDS documentation
• Process safety standards
• Environmental discharge regulations
• Customer CoA requirements
• Internal quality management (ISO 9001)
Workflows Covered:
✔ Incoming raw material inspection (supplier CoA)
✔ In-process monitoring — continuous (shift-based)
✔ Multi-tank / multi-vessel simultaneous testing
✔ Utility monitoring (water, boiler, cooling, chiller)
✔ Outgoing product QC before dispatch
✔ Heavy metals (ICP-OES) periodic testing
✔ SG temperature correction (concentration derivation)
✔ Effluent / discharge quality monitoring
Recommended Additions:
+ Supplier COA auto-verification
+ Statistical process control (SPC / Cp / Cpk)
+ IETS / waste treatment dedicated module
+ Environmental compliance reporting
Both industries are fully supported by the current LIMS build. Pharma additions (ELN, EM, cleaning validation) address advanced QC lab needs. Chemical additions (SPC, supplier COA auto-verify) address process quality management.

## Slide 50
Why This LIMS Works for Both Industries
Core capabilities that make it suitable for pharmaceutical QC labs and chemical manufacturing plants
Configurable Test Parameters
No hardcoded tests — add any parameter with unit, formula and spec limit in Master Data
Pharma
API assay % · impurity profile · dissolution · content uniformity · pH · conductivity
Chemical
Concentration % · SG · purity · heavy metals (ICP-OES) · turbidity · chloride content
Multi-Site, Multi-Lab Architecture
Each site has its own instruments, materials, specs and form templates — independently configurable
Pharma
API plant / formulation / QC release labs on separate sites with own specs
Chemical
Production plant / quality lab / satellite sites with different product lines
Flexible Specification Management
Dual spec tier: in-house acceptance + regulatory standard stored side by side, both shown on CoA
Pharma
USP/EP/BP compendial specs + in-house limits + customer-specific specs on same parameter
Chemical
In-house spec + MS/ISO/REACH regulatory tier + customer CoA spec — all on one form
Multiple Checkpoint Trigger Modes
4 trigger modes cover every lab scenario — no scenario requires a workaround
Pharma
Time-based IPC checks · scan-triggered per-batch testing · stability time-points
Chemical
Shift-based process log · tank monitoring daily trigger · dispatch QC on DO
Full Compliance Stack Built-In
All compliance controls (e-sig, audit trail, data integrity) apply to both industries simultaneously
Pharma
21 CFR Part 11 · EU GMP Annex 11 · ICH Q1A · FDA OOS guidance · ALCOA+
Chemical
ISO 17025 · REACH substance tracking · environmental discharge · ISO 9001 quality records
End-to-End Traceability
Bidirectional traceability: trace any result upstream to its origin or downstream to its use
Pharma
Raw material lot → API batch → formulation → CoA → distribution → recall scope
Chemical
Supplier lot → in-process result → finished product → outgoing CoA → customer delivery
The same LIMS configuration handles both industries because all test types, specs, triggers and form templates are data-driven. Switching between pharma and chemical use cases requires only Master Data configuration — no code changes.