## Slide 1
WebSynergies (S) Pte Ltd
Pharma-LIMS
End-to-End Workflow Guide
Sample Registration
→
Testing
→
Results Review
→
CoA Generation
→
QA Release
→
Dispatch
6
Workflow Phases
8
Gate Conditions
4
User Roles
21 CFR
Part 11 Compliant
Confidential | For Internal Presentation Use Only | 2026

## Slide 2
SYSTEM OVERVIEW
01
Sample Registration
Receive, barcode, SRF e-sign, spec & checkpoint assignment
02
Testing Execution
Work queue, parameter entry, OOS/OOT auto-detection, logbook
03
Results Review
QC verification, digital logbook sign-off, analyst approval
04
CoA Generation
Auto-generate Certificate of Analysis, lock PDF with e-sign
05
QA Review & Release
Checklist, risk score, e-sign decision, batch release
06
Dispatch QC
Final physical inspection, dispatch confirmation, traceability
▶
▶
▶
▶
▼

## Slide 3
PHASE 1
Sample Registration
1
Receive
Sample
Analyst
▶
2
Print
Barcode Label
Analyst
▶
3
Sign SRF
🔒 Gate ✍ E-Sign
Analyst
▶
4
Assign Spec
Template
🔒 Gate
LabManager
▶
5
Assign
Checkpoints
LabManager
▶
6
Pending
Testing ✓
System
Lot No., MFG/EXP
dates, lab, sample type
Auto-generated
barcode + audit log
FDA 21 CFR §11.50
e-signature required
Auto-matched or
manual override
Linked to sample type
for monitoring
Ready for test
assignment
🔒 Gate: SRFSigned — must sign before spec can be assigned
🔒 Gate: SpecAssigned — spec must be assigned before testing begins

## Slide 4
PHASE 2
Testing Execution
1
Pick from
Work Queue
Analyst
▶
2
Start Test
Execution
🔒 Gate
Analyst
▶
3
Enter Results
& Evidence
Analyst
▶
4
OOS/OOT
Auto-Check
System
▶
5
Submit &
Sign Off
🔒 Gate ✍ E-Sign
Analyst
• Priority scoring
• Barcode scan assign
• Instrument assignment
• Gate: AllTestsComplete
• Timer started
• Analyst locked in
• 20+ parameters
• Numeric/pass-fail
• Evidence attachments
• Compare vs spec limits
• Flag OOS/OOT
• Auto-open investigation
• Gate: LogbookSigned
• Gate: FormTemplateFilled
• E-signature finalises
✍ If a Monitoring Form is assigned, it must be submitted (Gate: FormTemplateFilled) before sign-off is permitted. Suggestions from AI are auto-loaded when the form opens.

## Slide 5
PHASE 3
Results Review
1
Analyst Submits
Results
Analyst
▶
2
QC Lead
Verification
✍ E-Sign
QA
▶
3
Sign Digital
Logbook
🔒 Gate ✍ E-Sign
Analyst
▶
4
Results
Approved ✓
QA
• OOS investigation opened if flagged
• Gate: NoOpenOOS must pass
• All parameters captured
• Reviews result accuracy
• Checks instrument calibration
• QCLeadVerify command records signature
• Gate: LogbookSigned
• Process log rows must be signed
• Audit trail locked in DB
• Status → ReviewComplete
• Triggers CoA generation
• Full traceability chain intact
⛔ If OOS/OOT is flagged
An OOS Investigation is auto-opened.
Gate: NoOpenOOS must pass before sign-off is permitted.
🔒 Gate: CheckpointsSigned
All process log rows (checkpoint slots) must have an
electronic signature before the logbook can be closed.

## Slide 6
PHASE 4
CoA Generation
1
Auto-Generate
CoA
System
▶
2
Review CoA
Lines & Results
QA
▶
3
Lock PDF &
Sign Off
🔒 Gate ✍ E-Sign
QA
▶
4
CoA Issued ✓
QA
• Triggered on ReviewComplete
• Pulls all passed test parameters
• CoA number auto-assigned
• 10-item QA checklist
• Passed items auto-collapsed
• Failed items highlighted in red
• Gate: CoAApproved
• PDF locked server-side atomically
• 21 CFR 211.194 compliant
• CoA status: Released
• Triggers batch release workflow
• Distributable to customers
10-Item QA Checklist (21 CFR 211.192)
✓ All test executions complete
✓ No open OOS investigations
✓ Logbook fully signed
✓ Analyst signatures present
✓ Spec version current
✓ Evidence uploaded
✓ OOS waiver (if any)
✓ Instrument calibration valid
✓ Process log complete
✓ QC lead verified

## Slide 7
PHASE 5
QA Review & Batch Release
1
Open CoA
Review
QA
▶
2
Run QA
Checklist
🔒 Gate
QA
▶
3
Review
Risk Score
System
▶
4
Make
Decision
✍ E-Sign
QA
▶
5
Batch
Released ✓
LabManager
• CoA list filtered by status
• Click to open review modal
• Checklist auto-evaluated
• 10 system checks
• Passed items collapsed by default
• Failures shown immediately
• AI-calculated risk score
• Factors: OOS, TAT, complexity
• Collapsed by default; expand for detail
• Approve / Conditional / Reject
• Justification mandatory if conditional
• E-signature locks decision
• Status: Released
• Triggers Dispatch QC task
• Audit trail complete
Decision Outcomes
Approved
All checks passed — batch released immediately
Conditional Release
Minor failures — QA justification required, batch released with notes
Rejected
Critical failures — batch held, investigation triggered

## Slide 8
PHASE 6
Dispatch QC
1
Create
Dispatch Task
LabManager
▶
2
Physical
Inspection
Analyst
▶
3
Confirm
Dispatch
✍ E-Sign
QA
▶
4
Dispatched ✓
System
• Auto-triggered on batch release
• Delivery order linked
• Assigned to LabManager
• Container condition check
• Seal integrity verified
• Label cross-check vs CoA
• E-signature locks dispatch
• Time-stamped audit record
• Distribution log created
• Full chain of custody logged
• Customer delivery record
• Sample available for traceability
Full Traceability Chain — Every Step is Linked
→ Sample → Test Execution → Results → OOS Investigation (if any)
→ Results → CoA Lines → Certificate of Analysis → QA Approval
→ CoA → Batch Release Decision → Dispatch QC Task → Delivery Order
→ Every action stamped with: User | Timestamp | E-Signature | IP Address | Role

## Slide 9
GATES
Gate Conditions — Workflow Enforcement
✓
AllTestsComplete
All assigned test executions must reach Completed status before sign-off proceeds.
🔬
NoOpenOOS
Any open OOS/OOT investigation must be closed before sign-off is permitted.
📋
LogbookSigned
All digital logbook entries must carry an electronic signature.
📄
CoAApproved
A Certificate of Analysis with status Released must exist before batch release.
📝
FormTemplateFilled
If a monitoring form is assigned, it must be submitted via the Form tab in Test Execution.
🔒
CheckpointsSigned
All process log rows (checkpoint monitoring slots) must be electronically signed.
✍
SRFSigned
The Sample Request Form must carry an e-signature before testing can begin.
📐
SpecAssigned
A Specification Template must be assigned before test parameters are created.

## Slide 10
ROLES
Role & Permissions Matrix
Permission Area
Analyst
QA
LabManager
Admin
Sample Registration
✓
—
✓
✓
Work Queue / Testing
✓
—
✓
✓
OOS Investigations
✓
✓
✓
✓
Results Review
✓
✓
—
✓
CoA Review & Approval
—
✓
—
✓
Batch Release
—
✓
✓
✓
Dispatch QC
—
✓
✓
✓
Compliance Panel
—
✓
✓
✓
Master Data / Settings
—
—
—
✓
* Admin has full access to all areas. All roles require an active session with JWT authentication (21 CFR Part 11).

## Slide 11
End-to-End. Gate-Controlled. 21 CFR Part 11 Compliant.
Pharma-LIMS
6
Workflow Phases
8
Gate Conditions
15+
E-Signature Points
4
User Roles
100%
Audit Logged
WebSynergies (S) Pte Ltd · Pharma-LIMS v1.0 · 2026 · Confidential
Built with: React + TypeScript | .NET 8 C# | PostgreSQL | JWT Auth | AI-powered OOS Analysis